## Slide 1: Code Enforcement
Jack Reddick – Administrator
Certified housing inspector
G.A.C.E. Certified

## Slide 2: Housing Standards
Enforce minimum housing standards set by IPMC
Established by DCA
Adopted by Athens-Clarke County
Currently using 2018 International Property Maintenance Code

## Slide 3: Structural Violations
Leaking roofs causing water damage.
  Example: Stains on ceiling, sagging drywall, or moisture.
Cracked or unstable walls and ceilings.
  Example: Large cracks, peeling paint, risk of collapse.
Broken or missing flooring.
  Example: Holes in wood flooring or tripping hazards.

## Slide 4: Plumbing
Broken or leaking toilets.
  Example: Toilets that don’t flush properly, constant leaks leading to water damage.
Clogged or non-functioning drains.
  Water backing up in sinks, tubs, or showers.
Lack of hot and cold running water.
  Unable to bathe or wash dishes due to water supply issues.

## Slide 5: Electrical Violations
Exposed or faulty wiring.
  Wires hanging from ceilings or walls, potential fire hazard.
Non-functioning electrical outlets or switches.
  Outlets that spark and flickering lights.
Improper wiring.
  Frequent power outages.

## Slide 6: Heating and Cooling
Lack of adequate heating in winter.
  Incapable of reaching 68° or 65° depending on timeframe.
Faulty or broken air conditioning.
  AC unit not cooling properly.

## Slide 7: How Code Enforcement Responds
Inspection and violation notices.
Timeframes for compliance and re-inspections.
Possible Citations

## Slide 8: Contact Information
Office: 706-613-3790
Email: CodeEnforcement@accgov.com

## Slide 9: Questions